## Sheet1
ID | - | SE | [14 empty] | MIX | [14 empty] | PBR1 | [14 empty] | PBR20 | [14 empty] | RET | [14 empty] | Effluent | [14 empty] | Centrate | [14 empty] | Harvested_biomass
variable | t [d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d]
0 | 0 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 2.5299 | 505.9716 | 22.99 | 93.7793 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 3.2297 | 0.19134 | 0 | 4925.1888 | 2.5299 | 505.9716 | 22.99 | 93.7793 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 3.2297 | 0.19134 | 0 | 4925.1888 | 2.5299 | 505.9716 | 22.99 | 93.7793 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 3.2297 | 0.19134 | 0 | 4925.1888 | 3.1724 | 634.4884 | 28.8294 | 117.5993 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 4.0501 | 0.23994 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 0 | 0 | 0 | 998.8283 | 1.4128 | 282.5657 | 12.839 | 52.3722 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 1.8037 | 0.10686 | 0 | 45.6964 | 111.8703 | 22374.0655 | 1016.6169 | 4146.9226 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 142.8195 | 8.461 | 0 | 1.1717
1 | 1 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 6.3886 | 535.7155 | 118.7199 | 57.3391 | 10.5655 | 0.12865 | 0.17831 | 48.4843 | 0.001213 | 20.7281 | 0.098737 | 20.1435 | 0.65015 | 0 | 4925.1888 | 6.4201 | 536.1769 | 119.097 | 57.462 | 10.9629 | 0.037177 | 0.069541 | 49.3955 | 0.00029903 | 20.6958 | 0.083741 | 20.1343 | 0.65524 | 0 | 4925.1888 | 6.505 | 539.9778 | 119.1033 | 57.6013 | 0 | 0 | 0 | 57.7958 | 0 | 20.0543 | 0.0034856 | 20.3495 | 0.62775 | 0 | 4925.1888 | 8.0455 | 670.7509 | 148.2113 | 71.6839 | 0 | 0 | 0 | 58.6015 | 0 | 20.0392 | 0.0034804 | 25.2556 | 0.77168 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57.7958 | 0 | 20.0543 | 0.0034856 | 0 | 0 | 0 | 998.8283 | 3.5933 | 299.7648 | 66.2642 | 32.0478 | 0 | 0 | 0 | 58.9541 | 0 | 20.0341 | 0.0034787 | 11.2846 | 0.34419 | 0 | 45.6964 | 284.5204 | 23735.9212 | 5246.9238 | 2537.6005 | 0 | 0 | 0 | 58.9541 | 0 | 20.0341 | 0.0034787 | 893.5327 | 27.2537 | 0 | 1.1717
2 | 2 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 7.5947 | 585.0562 | 181.1783 | 78.5673 | 11.1768 | 0.10909 | 0.1524 | 79.7817 | 0.0011175 | 21.9945 | 0.094948 | 14.012 | 0.45361 | 0 | 4925.1888 | 7.6015 | 585.4151 | 181.3657 | 78.653 | 10.4439 | 0.02605 | 0.051409 | 80.7695 | 0.00025759 | 21.9739 | 0.079438 | 14.0102 | 0.46113 | 0 | 4925.1888 | 7.7358 | 591.3576 | 184.9357 | 80.2575 | 0 | 0 | 0 | 101.6676 | 0 | 21.5777 | 0.0025615 | 14.0351 | 0.40024 | 0 | 4925.1888 | 9.5887 | 734.1985 | 229.5701 | 99.5707 | 0 | 0 | 0 | 101.9834 | 0 | 21.5769 | 0.0025621 | 17.4404 | 0.49516 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101.6676 | 0 | 21.5777 | 0.0025615 | 0 | 0 | 0 | 998.8283 | 4.2838 | 328.0864 | 102.584 | 44.4895 | 0 | 0 | 0 | 102.0896 | 0 | 21.5766 | 0.0025623 | 7.7945 | 0.22115 | 0 | 45.6964 | 339.1964 | 25978.479 | 8122.7868 | 3522.7602 | 0 | 0 | 0 | 102.0896 | 0 | 21.5766 | 0.0025623 | 617.1826 | 17.511 | 0 | 1.1717
3 | 3 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 8.9356 | 615.0232 | 232.56 | 119.0721 | 11.5781 | 0.10784 | 0.1507 | 79.7935 | 0.0010664 | 22.004 | 0.092783 | 9.9995 | 0.50747 | 0 | 4925.1888 | 8.9429 | 615.3862 | 232.7595 | 119.1815 | 10.9179 | 0.02507 | 0.049944 | 80.7787 | 0.00023641 | 21.9833 | 0.076978 | 9.9967 | 0.51545 | 0 | 4925.1888 | 9.0862 | 621.4966 | 236.759 | 121.3542 | 0 | 0 | 0 | 101.8647 | 0 | 21.5887 | 0.002114 | 9.9959 | 0.45414 | 0 | 4925.1888 | 11.2668 | 771.6183 | 294.0286 | 150.6167 | 0 | 0 | 0 | 102.2278 | 0 | 21.5889 | 0.0021144 | 12.4231 | 0.56242 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101.8647 | 0 | 21.5887 | 0.002114 | 0 | 0 | 0 | 998.8283 | 5.0337 | 344.808 | 131.3961 | 67.3015 | 0 | 0 | 0 | 102.3495 | 0 | 21.589 | 0.0021146 | 5.5523 | 0.25123 | 0 | 45.6964 | 398.5796 | 27302.5256 | 10404.1805 | 5329.059 | 0 | 0 | 0 | 102.3495 | 0 | 21.589 | 0.0021146 | 439.6429 | 19.8927 | 0 | 1.1717
4 | 4 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 10.0883 | 647.2569 | 282.7853 | 167.6678 | 11.9324 | 0.10204 | 0.14292 | 89.1711 | 0.0010164 | 21.9072 | 0.090588 | 6.2293 | 0.46802 | 0 | 4925.1888 | 10.0969 | 647.6296 | 283.0226 | 167.819 | 11.2494 | 0.021745 | 0.044441 | 90.2756 | 0.00021643 | 21.8856 | 0.074486 | 6.2253 | 0.47634 | 0 | 4925.1888 | 10.2657 | 653.8955 | 287.5204 | 170.6217 | 0 | 0 | 0 | 113.5097 | 0 | 21.4717 | 0.0017216 | 6.2033 | 0.41428 | 0 | 4925.1888 | 12.7275 | 811.8663 | 357.1052 | 211.8047 | 0 | 0 | 0 | 113.9695 | 0 | 21.472 | 0.0017219 | 7.7105 | 0.51287 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 113.5097 | 0 | 21.4717 | 0.0017216 | 0 | 0 | 0 | 998.8283 | 5.6862 | 362.795 | 159.5866 | 94.6457 | 0 | 0 | 0 | 114.1242 | 0 | 21.4721 | 0.001722 | 3.4461 | 0.22908 | 0 | 45.6964 | 450.2428 | 28726.7661 | 12636.3544 | 7494.2174 | 0 | 0 | 0 | 114.1242 | 0 | 21.4721 | 0.001722 | 272.8716 | 18.1389 | 0 | 1.1717
5 | 5 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 11.3956 | 673.9206 | 317.8344 | 211.3593 | 12.2028 | 0.098295 | 0.13787 | 83.8974 | 0.00097852 | 21.8149 | 0.088872 | 3.273 | 0.46787 | 0 | 4925.1888 | 11.4041 | 674.303 | 318.0849 | 211.5319 | 11.471 | 0.019626 | 0.040931 | 84.9729 | 0.00020177 | 21.7923 | 0.072539 | 3.2679 | 0.47644 | 0 | 4925.1888 | 11.5722 | 680.7612 | 323.0843 | 214.9446 | 0 | 0 | 0 | 107.6041 | 0 | 21.3601 | 0.0014562 | 3.2246 | 0.41306 | 0 | 4925.1888 | 14.3535 | 845.2282 | 401.2489 | 266.8416 | 0 | 0 | 0 | 107.9775 | 0 | 21.3604 | 0.0014564 | 4.0101 | 0.51152 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107.6041 | 0 | 21.3601 | 0.0014562 | 0 | 0 | 0 | 998.8283 | 6.4131 | 377.7037 | 179.312 | 119.2402 | 0 | 0 | 0 | 108.1031 | 0 | 21.3605 | 0.0014564 | 1.7924 | 0.22849 | 0 | 45.6964 | 507.8006 | 29907.2636 | 14198.2482 | 9441.6546 | 0 | 0 | 0 | 108.1031 | 0 | 21.3605 | 0.0014564 | 141.9253 | 18.092 | 0 | 1.1717
6 | 6 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 12.5322 | 684.9238 | 368.3602 | 269.6754 | 12.2292 | 0.095102 | 0.13357 | 93.6547 | 0.00096365 | 21.7546 | 0.088178 | 1.8482 | 0.67555 | 0 | 4925.1888 | 12.5416 | 685.2798 | 368.6734 | 269.915 | 11.3308 | 0.017966 | 0.038077 | 94.8848 | 0.00019614 | 21.7314 | 0.071752 | 1.845 | 0.68481 | 0 | 4925.1888 | 12.728 | 691.6336 | 374.3052 | 274.2171 | 0 | 0 | 0 | 119.8966 | 0 | 21.2874 | 0.0013564 | 1.8062 | 0.62557 | 0 | 4925.1888 | 15.7867 | 858.8187 | 464.7743 | 340.3532 | 0 | 0 | 0 | 120.2652 | 0 | 21.2874 | 0.001356 | 2.2408 | 0.77412 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 119.8966 | 0 | 21.2874 | 0.0013564 | 0 | 0 | 0 | 998.8283 | 7.0534 | 383.7831 | 207.6945 | 152.0845 | 0 | 0 | 0 | 120.3895 | 0 | 21.2874 | 0.0013559 | 1.0012 | 0.34575 | 0 | 45.6964 | 558.5033 | 30388.6448 | 16445.6309 | 12042.3291 | 0 | 0 | 0 | 120.3895 | 0 | 21.2874 | 0.0013559 | 79.2768 | 27.3772 | 0 | 1.1717
7 | 7 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 13.7821 | 689.302 | 421.4643 | 347.1581 | 12.7764 | 0.082932 | 0.11714 | 103.7249 | 0.0009579 | 21.7471 | 0.08793 | 1.0377 | 0.94937 | 0 | 4925.1888 | 13.7925 | 689.6837 | 421.7942 | 347.4455 | 11.6937 | 0.012801 | 0.028782 | 105.1117 | 0.00019398 | 21.7238 | 0.071472 | 1.0322 | 0.95839 | 0 | 4925.1888 | 13.9995 | 696.1429 | 428.172 | 352.9461 | 0 | 0 | 0 | 133.1677 | 0 | 21.2783 | 0.0013295 | 0.98123 | 0.9 | 0 | 4925.1888 | 17.3631 | 864.2678 | 531.7303 | 438.1207 | 0 | 0 | 0 | 133.5331 | 0 | 21.2784 | 0.0013301 | 1.2282 | 1.1175 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 133.1677 | 0 | 21.2783 | 0.0013295 | 0 | 0 | 0 | 998.8283 | 7.7577 | 386.2077 | 237.6202 | 195.7747 | 0 | 0 | 0 | 133.6564 | 0 | 21.2784 | 0.0013303 | 0.54955 | 0.49937 | 0 | 45.6964 | 614.2697 | 30580.6309 | 18815.198 | 15501.8006 | 0 | 0 | 0 | 133.6564 | 0 | 21.2784 | 0.0013303 | 43.5145 | 39.5411 | 0 | 1.1717
8 | 8 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 13.7019 | 677.3578 | 461.6198 | 427.1648 | 12.8294 | 0.088629 | 0.12486 | 65.4676 | 0.00097375 | 21.7549 | 0.088647 | 1.6119 | 1.4507 | 0 | 4925.1888 | 13.7745 | 677.7405 | 462.0886 | 427.6183 | 13.6136 | 0.015135 | 0.032888 | 66.5899 | 0.00019995 | 21.7317 | 0.072284 | 1.6061 | 1.4597 | 0 | 4925.1888 | 14.0058 | 683.329 | 465.1682 | 430.5466 | 0 | 0 | 0 | 79.0686 | 0 | 21.288 | 0.0014218 | 1.6226 | 1.4187 | 0 | 4925.1888 | 17.2947 | 848.464 | 578.3901 | 535.1711 | 0 | 0 | 0 | 80.1679 | 0 | 21.2878 | 0.0014211 | 2.0162 | 1.76 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 79.0686 | 0 | 21.288 | 0.0014218 | 0 | 0 | 0 | 998.8283 | 7.722 | 379.1566 | 258.5347 | 239.2051 | 0 | 0 | 0 | 80.662 | 0 | 21.2877 | 0.0014208 | 0.90076 | 0.78632 | 0 | 45.6964 | 611.4401 | 30022.3088 | 20471.2461 | 18940.6963 | 0 | 0 | 0 | 80.662 | 0 | 21.2877 | 0.0014208 | 71.3241 | 62.2626 | 0 | 1.1717
9 | 9 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 16.0053 | 677.9746 | 516.7159 | 522.0701 | 12.5953 | 0.086902 | 0.12252 | 118.3602 | 0.00097291 | 21.767 | 0.08862 | 1.1527 | 1.7158 | 0 | 4925.1888 | 16.0182 | 678.3135 | 517.0924 | 522.469 | 11.5859 | 0.014435 | 0.031668 | 119.8741 | 0.00019964 | 21.7439 | 0.072253 | 1.1503 | 1.7257 | 0 | 4925.1888 | 16.2715 | 684.3869 | 523.946 | 529.6963 | 0 | 0 | 0 | 150.4932 | 0 | 21.3024 | 0.0014196 | 1.1239 | 1.679 | 0 | 4925.1888 | 20.1775 | 849.8084 | 650.6938 | 657.6173 | 0 | 0 | 0 | 151.0496 | 0 | 21.3024 | 0.0014194 | 1.3942 | 2.0828 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150.4932 | 0 | 21.3024 | 0.0014196 | 0 | 0 | 0 | 998.8283 | 9.0149 | 379.7558 | 290.7843 | 293.8633 | 0 | 0 | 0 | 151.2366 | 0 | 21.3024 | 0.0014193 | 0.62295 | 0.93061 | 0 | 45.6964 | 713.8153 | 30069.7538 | 23024.8291 | 23268.6264 | 0 | 0 | 0 | 151.2366 | 0 | 21.3024 | 0.0014193 | 49.3262 | 73.6874 | 0 | 1.1717
10 | 10 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 17.5511 | 669.0135 | 555.8951 | 611.2676 | 12.461 | 0.091467 | 0.12869 | 111.8766 | 0.00098515 | 21.786 | 0.089179 | 1.483 | 2.1065 | 0 | 4925.1888 | 17.5635 | 669.336 | 556.2905 | 611.7209 | 11.4994 | 0.01643 | 0.035199 | 113.3238 | 0.0002043 | 21.7631 | 0.072888 | 1.4818 | 2.1167 | 0 | 4925.1888 | 17.8087 | 675.2345 | 563.3068 | 619.7298 | 0 | 0 | 0 | 142.4488 | 0 | 21.3254 | 0.0014983 | 1.4661 | 2.0754 | 0 | 4925.1888 | 22.0929 | 838.5041 | 699.5735 | 769.4272 | 0 | 0 | 0 | 142.9631 | 0 | 21.3252 | 0.0014977 | 1.8144 | 2.5742 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 142.4488 | 0 | 21.3254 | 0.0014983 | 0 | 0 | 0 | 998.8283 | 9.8713 | 374.7084 | 312.6277 | 343.8291 | 0 | 0 | 0 | 143.1361 | 0 | 21.3252 | 0.0014974 | 0.81038 | 1.1501 | 0 | 45.6964 | 781.6289 | 29670.0911 | 24754.4286 | 27225.0127 | 0 | 0 | 0 | 143.1361 | 0 | 21.3252 | 0.0014974 | 64.167 | 91.0704 | 0 | 1.1717
11 | 11 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 18.3315 | 663.2715 | 541.9852 | 632.1175 | 12.5542 | 0.092313 | 0.12984 | 77.0376 | 0.00099317 | 21.8124 | 0.089557 | 1.5202 | 2.4188 | 0 | 4925.1888 | 18.3413 | 663.5983 | 542.3753 | 632.5731 | 11.5288 | 0.016908 | 0.036024 | 78.1726 | 0.00020739 | 21.7898 | 0.073315 | 1.5185 | 2.4289 | 0 | 4925.1888 | 18.539 | 669.5274 | 549.4343 | 640.8408 | 0 | 0 | 0 | 100.8192 | 0 | 21.3573 | 0.0015579 | 1.4966 | 2.3893 | 0 | 4925.1888 | 23.0153 | 831.3525 | 682.3095 | 795.6828 | 0 | 0 | 0 | 100.9525 | 0 | 21.3572 | 0.0015577 | 1.8576 | 2.9652 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100.8192 | 0 | 21.3573 | 0.0015579 | 0 | 0 | 0 | 998.8283 | 10.2846 | 371.5081 | 304.9102 | 355.5648 | 0 | 0 | 0 | 100.9975 | 0 | 21.3572 | 0.0015576 | 0.83007 | 1.3249 | 0 | 45.6964 | 814.3526 | 29416.6841 | 24143.3441 | 28154.2713 | 0 | 0 | 0 | 100.9975 | 0 | 21.3572 | 0.0015576 | 65.7262 | 104.9105 | 0 | 1.1717
12 | 12 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 18.3668 | 658.5346 | 549.1651 | 665.1999 | 12.5409 | 0.092567 | 0.13019 | 83.2007 | 0.00099988 | 21.8287 | 0.089863 | 1.4828 | 2.6913 | 0 | 4925.1888 | 18.3776 | 658.8576 | 549.555 | 665.6682 | 11.5598 | 0.017065 | 0.036269 | 84.3821 | 0.00020998 | 21.8063 | 0.073664 | 1.4812 | 2.7016 | 0 | 4925.1888 | 18.594 | 664.7235 | 556.6019 | 674.162 | 0 | 0 | 0 | 108.0891 | 0 | 21.3771 | 0.0016052 | 1.4609 | 2.6649 | 0 | 4925.1888 | 23.0785 | 825.3896 | 691.2238 | 837.1017 | 0 | 0 | 0 | 108.3147 | 0 | 21.377 | 0.0016049 | 1.8131 | 3.3074 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.0891 | 0 | 21.3771 | 0.0016052 | 0 | 0 | 0 | 998.8283 | 10.3124 | 368.8436 | 308.8947 | 374.0768 | 0 | 0 | 0 | 108.3906 | 0 | 21.377 | 0.0016049 | 0.81017 | 1.4779 | 0 | 45.6964 | 816.5577 | 29205.7041 | 24458.8461 | 29620.0827 | 0 | 0 | 0 | 108.3906 | 0 | 21.377 | 0.0016049 | 64.1505 | 117.0218 | 0 | 1.1717
13 | 13 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 18.6074 | 654.3341 | 570.4648 | 713.4635 | 12.5427 | 0.091852 | 0.12923 | 96.4091 | 0.0010059 | 21.843 | 0.090137 | 1.4104 | 2.9343 | 0 | 4925.1888 | 18.6199 | 654.6525 | 570.866 | 713.9638 | 11.6169 | 0.016783 | 0.035731 | 97.7088 | 0.00021232 | 21.8207 | 0.073974 | 1.409 | 2.9446 | 0 | 4925.1888 | 18.8672 | 660.4457 | 577.9272 | 722.7755 | 0 | 0 | 0 | 123.7789 | 0 | 21.3943 | 0.0016482 | 1.3912 | 2.9109 | 0 | 4925.1888 | 23.4096 | 820.0842 | 717.7549 | 897.5222 | 0 | 0 | 0 | 124.1847 | 0 | 21.3942 | 0.0016479 | 1.726 | 3.6128 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123.7789 | 0 | 21.3943 | 0.0016482 | 0 | 0 | 0 | 998.8283 | 10.4599 | 366.4731 | 320.7543 | 401.0811 | 0 | 0 | 0 | 124.3214 | 0 | 21.3942 | 0.0016478 | 0.77119 | 1.6143 | 0 | 45.6964 | 828.2303 | 29018.0087 | 25397.9112 | 31758.3269 | 0 | 0 | 0 | 124.3214 | 0 | 21.3942 | 0.0016478 | 61.0639 | 127.826 | 0 | 1.1717
14 | 14 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 19.1856 | 649.382 | 586.4068 | 756.9097 | 12.5305 | 0.092147 | 0.12963 | 96.0001 | 0.0010131 | 21.8584 | 0.090463 | 1.4064 | 3.1706 | 0 | 4925.1888 | 19.1982 | 649.6965 | 586.8073 | 757.4239 | 11.5984 | 0.016963 | 0.036017 | 97.2932 | 0.00021513 | 21.8362 | 0.074344 | 1.4051 | 3.1811 | 0 | 4925.1888 | 19.4471 | 655.4307 | 594.026 | 766.7163 | 0 | 0 | 0 | 123.3597 | 0 | 21.4129 | 0.0017007 | 1.3886 | 3.1498 | 0 | 4925.1888 | 24.1309 | 813.8587 | 737.737 | 952.0788 | 0 | 0 | 0 | 123.7441 | 0 | 21.4128 | 0.0017004 | 1.7226 | 3.9096 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123.3597 | 0 | 21.4129 | 0.0017007 | 0 | 0 | 0 | 998.8283 | 10.7823 | 363.6912 | 329.6832 | 425.4605 | 0 | 0 | 0 | 123.8735 | 0 | 21.4128 | 0.0017003 | 0.76969 | 1.747 | 0 | 45.6964 | 853.7583 | 28797.7342 | 26104.9146 | 33688.7338 | 0 | 0 | 0 | 123.8735 | 0 | 21.4128 | 0.0017003 | 60.9452 | 138.3288 | 0 | 1.1717
15 | 15 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 19.0928 | 642.3498 | 549.4722 | 729.4322 | 12.5888 | 0.095243 | 0.1338 | 27.9326 | 0.0010235 | 21.8754 | 0.09092 | 1.5731 | 3.4239 | 0 | 4925.1888 | 19.1534 | 642.68 | 549.9776 | 730.0674 | 13.4383 | 0.018324 | 0.038359 | 28.6762 | 0.00021922 | 21.8535 | 0.074862 | 1.5704 | 3.4341 | 0 | 4925.1888 | 19.4083 | 647.9784 | 553.6565 | 735.0903 | 0 | 0 | 0 | 33.4459 | 0 | 21.4336 | 0.001774 | 1.5859 | 3.4115 | 0 | 4925.1888 | 24.0266 | 804.626 | 688.2231 | 913.6328 | 0 | 0 | 0 | 34.2842 | 0 | 21.4335 | 0.0017731 | 1.966 | 4.2342 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.4459 | 0 | 21.4336 | 0.001774 | 0 | 0 | 0 | 998.8283 | 10.7319 | 359.5687 | 307.611 | 408.3509 | 0 | 0 | 0 | 34.6761 | 0 | 21.4334 | 0.0017727 | 0.87819 | 1.892 | 0 | 45.6964 | 849.7697 | 28471.3055 | 24357.196 | 32333.9662 | 0 | 0 | 0 | 34.6761 | 0 | 21.4334 | 0.0017727 | 69.5364 | 149.8127 | 0 | 1.1717
16 | 16 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 19.2135 | 641.3131 | 536.8699 | 710.0233 | 12.4133 | 0.093863 | 0.13195 | 65.9713 | 0.001025 | 21.8881 | 0.090999 | 1.2548 | 3.5651 | 0 | 4925.1888 | 19.2248 | 641.622 | 537.2435 | 710.4953 | 11.8549 | 0.017786 | 0.037421 | 66.905 | 0.00022004 | 21.8663 | 0.074952 | 1.2536 | 3.5757 | 0 | 4925.1888 | 19.4644 | 647.2399 | 543.523 | 718.5014 | 0 | 0 | 0 | 85.6694 | 0 | 21.4489 | 0.0017892 | 1.2398 | 3.5491 | 0 | 4925.1888 | 24.1558 | 803.707 | 675.1265 | 892.4468 | 0 | 0 | 0 | 86.0413 | 0 | 21.4488 | 0.0017887 | 1.5362 | 4.4052 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.6694 | 0 | 21.4489 | 0.0017892 | 0 | 0 | 0 | 998.8283 | 10.7936 | 359.156 | 301.7113 | 398.829 | 0 | 0 | 0 | 86.167 | 0 | 21.4488 | 0.0017885 | 0.68628 | 1.9684 | 0 | 45.6964 | 854.6566 | 28438.626 | 23890.0474 | 31580.0071 | 0 | 0 | 0 | 86.167 | 0 | 21.4488 | 0.0017885 | 54.3411 | 155.8633 | 0 | 1.1717
17 | 17 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 19.118 | 634.7336 | 524.753 | 690.7093 | 12.3491 | 0.096774 | 0.13587 | 61.7855 | 0.001035 | 21.9047 | 0.091442 | 1.3986 | 3.7827 | 0 | 4925.1888 | 19.128 | 635.0404 | 525.122 | 691.1714 | 11.7803 | 0.019187 | 0.039858 | 62.6844 | 0.00022376 | 21.8831 | 0.075456 | 1.3974 | 3.7934 | 0 | 4925.1888 | 19.344 | 640.6155 | 531.3532 | 699.0567 | 0 | 0 | 0 | 80.6267 | 0 | 21.4689 | 0.0018657 | 1.3837 | 3.7688 | 0 | 4925.1888 | 24.0129 | 795.4767 | 659.9719 | 868.2524 | 0 | 0 | 0 | 80.9301 | 0 | 21.4688 | 0.0018653 | 1.7154 | 4.6781 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80.6267 | 0 | 21.4689 | 0.0018657 | 0 | 0 | 0 | 998.8283 | 10.7302 | 355.4779 | 294.9363 | 388.0139 | 0 | 0 | 0 | 81.0335 | 0 | 21.4688 | 0.0018651 | 0.76637 | 2.0904 | 0 | 45.6964 | 849.6381 | 28147.3828 | 23353.5891 | 30723.6483 | 0 | 0 | 0 | 81.0335 | 0 | 21.4688 | 0.0018651 | 60.683 | 165.5202 | 0 | 1.1717
18 | 18 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 18.9564 | 627.3233 | 475.4232 | 623.0712 | 12.2684 | 0.10163 | 0.14239 | 27.4416 | 0.0010464 | 21.9301 | 0.091953 | 1.5915 | 4.0018 | 0 | 4925.1888 | 18.9618 | 627.6332 | 475.7802 | 623.4969 | 11.579 | 0.02161 | 0.044057 | 28.0354 | 0.00022834 | 21.9087 | 0.076036 | 1.5899 | 4.0123 | 0 | 4925.1888 | 19.0982 | 633.2235 | 481.8279 | 630.8471 | 0 | 0 | 0 | 39.5961 | 0 | 21.4996 | 0.0019585 | 1.5714 | 3.9888 | 0 | 4925.1888 | 23.7299 | 786.2702 | 598.383 | 783.5252 | 0 | 0 | 0 | 39.4885 | 0 | 21.4995 | 0.0019583 | 1.9508 | 4.9517 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39.5961 | 0 | 21.4996 | 0.0019585 | 0 | 0 | 0 | 998.8283 | 10.6053 | 351.3618 | 267.4074 | 350.1495 | 0 | 0 | 0 | 39.4532 | 0 | 21.4995 | 0.0019583 | 0.87175 | 2.2127 | 0 | 45.6964 | 839.7454 | 27821.4633 | 21173.8039 | 27725.473 | 0 | 0 | 0 | 39.4532 | 0 | 21.4995 | 0.0019583 | 69.0271 | 175.2071 | 0 | 1.1717
19 | 19 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 17.6553 | 619.3363 | 411.7742 | 527.8874 | 12.0375 | 0.10875 | 0.15188 | 0 | 0.001059 | 21.9562 | 0.092504 | 1.8132 | 4.2194 | 0 | 4925.1888 | 17.6585 | 619.6463 | 412.1193 | 528.2646 | 11.2995 | 0.025272 | 0.050307 | 0.71269 | 0.0002335 | 21.9351 | 0.076661 | 1.8114 | 4.2299 | 0 | 4925.1888 | 17.7471 | 625.2082 | 417.746 | 534.6078 | 0 | 0 | 0 | 15.8437 | 0 | 21.5312 | 0.0020593 | 1.7915 | 4.2081 | 0 | 4925.1888 | 22.0617 | 776.3368 | 518.7042 | 663.9974 | 0 | 0 | 0 | 15.9054 | 0 | 21.5311 | 0.002059 | 2.2227 | 5.2238 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.8437 | 0 | 21.5312 | 0.0020593 | 0 | 0 | 0 | 998.8283 | 9.8605 | 346.9241 | 231.7938 | 296.7341 | 0 | 0 | 0 | 15.9256 | 0 | 21.531 | 0.0020589 | 0.99312 | 2.3343 | 0 | 45.6964 | 780.7724 | 27470.0832 | 18353.8511 | 23495.9425 | 0 | 0 | 0 | 15.9256 | 0 | 21.531 | 0.0020589 | 78.637 | 184.8308 | 0 | 1.1717
20 | 20 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 15.6905 | 614.6815 | 382.878 | 462.107 | 11.975 | 0.10906 | 0.15229 | 23.7049 | 0.0010665 | 21.9738 | 0.092831 | 1.7594 | 4.3735 | 0 | 4925.1888 | 15.6963 | 614.9907 | 383.1896 | 462.427 | 11.3975 | 0.02548 | 0.050627 | 24.2102 | 0.00023647 | 21.9529 | 0.077033 | 1.7575 | 4.384 | 0 | 4925.1888 | 15.8262 | 620.5276 | 388.3985 | 467.9553 | 0 | 0 | 0 | 34.4329 | 0 | 21.5525 | 0.002122 | 1.736 | 4.3635 | 0 | 4925.1888 | 19.6591 | 770.5188 | 482.3137 | 581.2666 | 0 | 0 | 0 | 34.3509 | 0 | 21.5524 | 0.0021217 | 2.1542 | 5.417 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.4329 | 0 | 21.5525 | 0.002122 | 0 | 0 | 0 | 998.8283 | 8.7856 | 344.3238 | 215.5352 | 259.7661 | 0 | 0 | 0 | 34.3241 | 0 | 21.5524 | 0.0021216 | 0.96258 | 2.4206 | 0 | 45.6964 | 695.6611 | 27264.1847 | 17066.4722 | 20568.7499 | 0 | 0 | 0 | 34.3241 | 0 | 21.5524 | 0.0021216 | 76.219 | 191.6681 | 0 | 1.1717
21 | 21 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 14.898 | 611.989 | 386.8223 | 435.7085 | 11.9264 | 0.10686 | 0.14938 | 47.2122 | 0.0010709 | 21.9831 | 0.093019 | 1.5639 | 4.4874 | 0 | 4925.1888 | 14.905 | 612.296 | 387.1358 | 436.0236 | 11.3625 | 0.024381 | 0.048732 | 47.9399 | 0.00023824 | 21.9622 | 0.077247 | 1.562 | 4.4979 | 0 | 4925.1888 | 15.0649 | 617.7838 | 392.3055 | 441.3419 | 0 | 0 | 0 | 62.6308 | 0 | 21.5636 | 0.0021574 | 1.5409 | 4.479 | 0 | 4925.1888 | 18.7035 | 767.1238 | 487.1893 | 548.162 | 0 | 0 | 0 | 62.7803 | 0 | 21.5635 | 0.0021569 | 1.911 | 5.5602 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.6308 | 0 | 21.5636 | 0.0021574 | 0 | 0 | 0 | 998.8283 | 8.3579 | 342.8075 | 217.7158 | 244.9686 | 0 | 0 | 0 | 62.8319 | 0 | 21.5635 | 0.0021567 | 0.85381 | 2.4846 | 0 | 45.6964 | 661.7937 | 27144.1229 | 17239.1326 | 19397.0576 | 0 | 0 | 0 | 62.8319 | 0 | 21.5635 | 0.0021567 | 67.6061 | 196.7356 | 0 | 1.1717
22 | 22 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 14.1625 | 601.9403 | 359.1556 | 394.5773 | 11.8545 | 0.11331 | 0.15794 | 5.8059 | 0.0010875 | 21.9999 | 0.093712 | 1.979 | 4.7127 | 0 | 4925.1888 | 14.1987 | 602.2786 | 359.6034 | 394.9906 | 12.5353 | 0.027691 | 0.054244 | 6.3161 | 0.00024505 | 21.9793 | 0.078034 | 1.9744 | 4.7226 | 0 | 4925.1888 | 14.3735 | 607.1549 | 361.843 | 397.598 | 0 | 0 | 0 | 6.922 | 0 | 21.5841 | 0.0022871 | 1.9997 | 4.7149 | 0 | 4925.1888 | 17.8083 | 753.9894 | 449.7932 | 494.2192 | 0 | 0 | 0 | 7.3692 | 0 | 21.5839 | 0.002285 | 2.4757 | 5.8521 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.922 | 0 | 21.5841 | 0.0022871 | 0 | 0 | 0 | 998.8283 | 7.9552 | 336.9454 | 201.0462 | 220.8989 | 0 | 0 | 0 | 7.6202 | 0 | 21.5838 | 0.0022843 | 1.1056 | 2.6149 | 0 | 45.6964 | 629.909 | 26679.9505 | 15919.2021 | 17491.1764 | 0 | 0 | 0 | 7.6202 | 0 | 21.5838 | 0.0022843 | 87.5403 | 207.0529 | 0 | 1.1717
23 | 23 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 14.1972 | 601.896 | 327.1156 | 341.5377 | 11.714 | 0.11033 | 0.15401 | 18.9416 | 0.0010877 | 22.017 | 0.093745 | 1.5711 | 4.7692 | 0 | 4925.1888 | 14.2002 | 602.209 | 327.4259 | 341.8094 | 10.9329 | 0.026379 | 0.052074 | 19.4599 | 0.00024497 | 21.9965 | 0.078072 | 1.5684 | 4.7796 | 0 | 4925.1888 | 14.2845 | 607.7327 | 332.4305 | 346.3285 | 0 | 0 | 0 | 28.9339 | 0 | 21.6046 | 0.0023039 | 1.5375 | 4.7618 | 0 | 4925.1888 | 17.7538 | 754.628 | 412.6907 | 430.098 | 0 | 0 | 0 | 28.6974 | 0 | 21.6046 | 0.0023037 | 1.908 | 5.9117 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.9339 | 0 | 21.6046 | 0.0023039 | 0 | 0 | 0 | 998.8283 | 7.9348 | 337.2224 | 184.414 | 192.2032 | 0 | 0 | 0 | 28.6196 | 0 | 21.6046 | 0.0023036 | 0.85254 | 2.6417 | 0 | 45.6964 | 628.2941 | 26701.8861 | 14602.237 | 15218.9994 | 0 | 0 | 0 | 28.6196 | 0 | 21.6046 | 0.0023036 | 67.5057 | 209.173 | 0 | 1.1717
24 | 24 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 12.7184 | 598.4628 | 379.495 | 373.3131 | 11.7402 | 0.10822 | 0.15121 | 81.8667 | 0.0010935 | 22.0273 | 0.093991 | 1.4596 | 4.8746 | 0 | 4925.1888 | 12.7273 | 598.7675 | 379.8136 | 373.6139 | 10.8524 | 0.025298 | 0.050213 | 82.9658 | 0.00024754 | 22.0069 | 0.078351 | 1.4574 | 4.8851 | 0 | 4925.1888 | 12.9028 | 604.1979 | 385.3425 | 378.8753 | 0 | 0 | 0 | 105.3655 | 0 | 21.617 | 0.0023531 | 1.4309 | 4.8695 | 0 | 4925.1888 | 16.0073 | 750.2533 | 478.433 | 470.372 | 0 | 0 | 0 | 105.6217 | 0 | 21.6169 | 0.0023525 | 1.7743 | 6.0451 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105.3655 | 0 | 21.617 | 0.0023531 | 0 | 0 | 0 | 998.8283 | 7.1522 | 335.2685 | 213.795 | 210.1907 | 0 | 0 | 0 | 105.708 | 0 | 21.6169 | 0.0023523 | 0.79274 | 2.7013 | 0 | 45.6964 | 566.3271 | 26547.1713 | 16928.6796 | 16643.281 | 0 | 0 | 0 | 105.708 | 0 | 21.6169 | 0.0023523 | 62.7705 | 213.8942 | 0 | 1.1717
25 | 25 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 0.78 | 0 | 0 | 0 | 1000 | 13.6969 | 593.4368 | 411.318 | 417.0819 | 11.8064 | 0.10786 | 0.15075 | 77.7812 | 0.0011021 | 22.0423 | 0.094362 | 1.4861 | 5.0003 | 0 | 4925.1888 | 13.7053 | 593.7376 | 411.6456 | 417.4116 | 10.8884 | 0.025177 | 0.049974 | 78.8539 | 0.00025113 | 22.0221 | 0.078773 | 1.484 | 5.0108 | 0 | 4925.1888 | 13.8733 | 599.1111 | 417.4311 | 423.2601 | 0 | 0 | 0 | 100.6658 | 0 | 21.6352 | 0.002433 | 1.4589 | 4.9968 | 0 | 4925.1888 | 17.2173 | 743.9204 | 518.3129 | 525.4591 | 0 | 0 | 0 | 100.8542 | 0 | 21.6352 | 0.0024326 | 1.8105 | 6.2036 | 0 | 3925.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100.6658 | 0 | 21.6352 | 0.002433 | 0 | 0 | 0 | 998.8283 | 7.6933 | 332.4374 | 231.6187 | 234.8058 | 0 | 0 | 0 | 100.9176 | 0 | 21.6351 | 0.0024324 | 0.809 | 2.7721 | 0 | 45.6964 | 609.1672 | 26322.9941 | 18339.9867 | 18592.3497 | 0 | 0 | 0 | 100.9176 | 0 | 21.6351 | 0.0024324 | 64.0579 | 219.5018 | 0 | 1.1717