## Sheet1
ID | - | SE | [14 empty] | MIX | [14 empty] | PBR1 | [14 empty] | PBR20 | [14 empty] | RET | [14 empty] | Effluent | [14 empty] | Centrate | [14 empty] | Harvested_biomass
variable | t [d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d] | X_CHL [mg/L] | X_ALG [mg/L] | X_PG [mg/L] | X_TAG [mg/L] | S_CO2 [mg/L] | S_A [mg/L] | S_G [mg/L] | S_O2 [mg/L] | S_NH [mg/L] | S_NO [mg/L] | S_P [mg/L] | X_N_ALG [mg/L] | X_P_ALG [mg/L] | H2O [mg/L] | Q [m3/d]
0 | 0 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 2.5299 | 505.9716 | 22.99 | 93.7793 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 3.2297 | 0.19134 | 0 | 98.5038 | 2.5299 | 505.9716 | 22.99 | 93.7793 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 3.2297 | 0.19134 | 0 | 98.5038 | 2.5299 | 505.9716 | 22.99 | 93.7793 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 3.2297 | 0.19134 | 0 | 98.5038 | 3.1724 | 634.4884 | 28.8294 | 117.5993 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 4.0501 | 0.23994 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 0 | 0 | 0 | 19.9766 | 1.4128 | 282.5657 | 12.839 | 52.3722 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 1.8037 | 0.10686 | 0 | 0.91393 | 111.8703 | 22374.0655 | 1016.6169 | 4146.9226 | 30 | 5 | 5 | 5 | 35.8041 | 0.7 | 0.35744 | 142.8195 | 8.461 | 0 | 0.023434
1 | 1 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.0419 | 435.8915 | 23.7287 | 44.6548 | 187.2484 | 0 | 0 | 0 | 0.00057482 | 0.0022291 | 0.36197 | 46.9019 | 2.5307 | 0 | 98.5038 | 4.1198 | 434.5541 | 22.7841 | 44.3413 | 190.5925 | 0 | 0 | 0 | 1.3042e-05 | 2.0805e-05 | 0.29839 | 46.8879 | 2.5858 | 0 | 98.5038 | 5.3248 | 477.7189 | 37.9473 | 38.3219 | 118.5445 | 0 | 0 | 0 | 0 | 0 | 0.0024396 | 41.5405 | 1.409 | 0 | 98.5038 | 6.2599 | 601.404 | 54.1432 | 60.3651 | 93.3738 | 0.037464 | 0.038359 | 0.036846 | 0.51263 | 0.012263 | 0.0085246 | 50.3113 | 1.3726 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 118.5445 | 0 | 0 | 0 | 0 | 0 | 0.0024396 | 0 | 0 | 0 | 19.9766 | 2.7752 | 268.9688 | 24.3822 | 27.8889 | 88.1854 | 0.061068 | 0.062527 | 0.060061 | 0.83506 | 0.019972 | 0.012278 | 22.3833 | 0.59612 | 0 | 0.91393 | 219.7425 | 21297.442 | 1930.6283 | 2208.2906 | 88.1854 | 0.061068 | 0.062527 | 0.060061 | 0.83506 | 0.019972 | 0.012278 | 1772.3541 | 47.2016 | 0 | 0.023434
2 | 2 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.5327 | 413.3535 | 11.9805 | 13.1416 | 254.7462 | 0 | 0 | 0 | 2.7045e-05 | 0.0024274 | 0.38221 | 51.0566 | 3.7838 | 0 | 98.5038 | 4.5104 | 416.3283 | 11.8748 | 12.9761 | 251.482 | 0 | 0 | 0 | 6.3842e-07 | 6.2012e-06 | 0.31877 | 50.7183 | 3.7629 | 0 | 98.5038 | 4.869 | 498.3733 | 18.8428 | 8.5831 | 147.7777 | 0 | 0 | 0 | 0 | 0 | 0.0027658 | 42.3237 | 2.0563 | 0 | 98.5038 | 5.6919 | 613.1454 | 24.8682 | 15.3584 | 148.2356 | 0.00043982 | 0.00045033 | 0.00043257 | 0.0060142 | 0.00014384 | 0.0030304 | 52.3338 | 2.4377 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 147.7777 | 0 | 0 | 0 | 0 | 0 | 0.0027658 | 0 | 0 | 0 | 19.9766 | 2.5287 | 273.2788 | 11.246 | 7.2669 | 149.4792 | 0.00071707 | 0.0007342 | 0.00070524 | 0.0098053 | 0.00023451 | 0.0031256 | 23.396 | 1.0866 | 0 | 0.91393 | 200.2285 | 21638.7158 | 890.4817 | 575.4092 | 149.4792 | 0.00071707 | 0.0007342 | 0.00070524 | 0.0098053 | 0.00023451 | 0.0031256 | 1852.5365 | 86.0397 | 0 | 0.023434
3 | 3 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.4875 | 404.5602 | 6.9943 | 3.4376 | 273.3439 | 0 | 0 | 0 | 2.0732e-05 | 0.0024096 | 0.38939 | 54.223 | 4.8209 | 0 | 98.5038 | 4.4427 | 407.223 | 6.9488 | 3.3852 | 270.4543 | 0 | 0 | 1.9814 | 4.9979e-07 | 2.3846e-05 | 0.3261 | 53.914 | 4.8053 | 0 | 98.5038 | 4.6075 | 480.3566 | 11.1248 | 2.527 | 179.1278 | 0 | 0 | 53.5986 | 0 | 0 | 0.0033812 | 46.1263 | 3.2662 | 0 | 98.5038 | 5.456 | 598.4575 | 15.0945 | 4.2834 | 176.1699 | 5.1644e-06 | 5.2878e-06 | 40.5585 | 7.0619e-05 | 1.689e-06 | 0.0035185 | 56.5153 | 3.8017 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 179.1278 | 0 | 0 | 53.5986 | 0 | 0 | 0.0033812 | 0 | 0 | 0 | 19.9766 | 2.428 | 267.4082 | 6.8381 | 2.0055 | 175.9532 | 8.4198e-06 | 8.621e-06 | 35.2682 | 0.00011513 | 2.7536e-06 | 0.0035419 | 25.2166 | 1.684 | 0 | 0.91393 | 192.252 | 21173.8653 | 541.4512 | 158.8028 | 175.9532 | 8.4198e-06 | 8.621e-06 | 35.2682 | 0.00011513 | 2.7536e-06 | 0.0035419 | 1996.6932 | 133.3418 | 0 | 0.023434
4 | 4 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.2988 | 397.1654 | 3.8905 | 0.84333 | 278.7391 | 0 | 0 | 0 | 2.1047e-05 | 0.0024136 | 0.39934 | 57.2315 | 5.831 | 0 | 98.5038 | 4.2598 | 399.4437 | 3.8774 | 0.83525 | 276.1295 | 0 | 0 | 2.6522 | 5.1731e-07 | 2.9779e-05 | 0.33633 | 56.9536 | 5.8217 | 0 | 98.5038 | 4.559 | 491.4461 | 6.9878 | 0.51609 | 162.5919 | 0 | 0 | 87.6633 | 0 | 0 | 0.0034834 | 47.6456 | 3.9879 | 0 | 98.5038 | 5.2765 | 607.2346 | 8.9522 | 0.94186 | 165.8762 | 6.0641e-08 | 6.2089e-08 | 83.054 | 8.2921e-07 | 1.9832e-08 | 0.0037661 | 58.8197 | 4.7808 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 162.5919 | 0 | 0 | 87.6633 | 0 | 0 | 0.0034834 | 0 | 0 | 0 | 19.9766 | 2.3405 | 270.804 | 4.0281 | 0.44792 | 168.6386 | 9.8866e-08 | 1.0123e-07 | 80.1147 | 1.3519e-06 | 3.2333e-08 | 0.0038399 | 26.2896 | 2.1303 | 0 | 0.91393 | 185.3214 | 21442.7508 | 318.9544 | 35.467 | 168.6386 | 9.8866e-08 | 1.0123e-07 | 80.1147 | 1.3519e-06 | 3.2333e-08 | 0.0038399 | 2081.656 | 168.678 | 0 | 0.023434
5 | 5 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.2543 | 395.68 | 2.5613 | 0.20856 | 273.7198 | 0 | 0 | 0 | 2.1132e-05 | 0.0025648 | 0.40044 | 59.7415 | 6.7478 | 0 | 98.5038 | 4.213 | 398.1173 | 2.5553 | 0.20495 | 270.925 | 0 | 0 | 2.6851 | 5.2126e-07 | 6.1984e-06 | 0.33742 | 59.4514 | 6.7362 | 0 | 98.5038 | 4.5616 | 486.3291 | 4.9754 | 0.18807 | 162.0937 | 0 | 0 | 88.8674 | 0 | 0 | 0.003687 | 50.4663 | 4.9692 | 0 | 98.5038 | 5.3396 | 601.6315 | 6.3093 | 0.29601 | 164.8653 | 7.1204e-10 | 7.2906e-10 | 87.8505 | 9.7366e-09 | 2.3287e-10 | 0.0040115 | 62.2622 | 5.9885 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 162.0937 | 0 | 0 | 88.8674 | 0 | 0 | 0.003687 | 0 | 0 | 0 | 19.9766 | 2.3697 | 268.4806 | 2.8317 | 0.13737 | 166.8916 | 1.1609e-09 | 1.1886e-09 | 86.6127 | 1.5874e-08 | 3.7966e-10 | 0.0040959 | 27.8133 | 2.6671 | 0 | 0.91393 | 187.6405 | 21258.7816 | 224.2231 | 10.8774 | 166.8916 | 1.1609e-09 | 1.1886e-09 | 86.6127 | 1.5874e-08 | 3.7966e-10 | 0.0040959 | 2202.3052 | 211.1882 | 0 | 0.023434
6 | 6 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.2221 | 394.2902 | 1.8487 | 0.066699 | 267.8771 | 0 | 0 | 0 | 2.1215e-05 | 0.0025115 | 0.40258 | 62.2294 | 7.6564 | 0 | 98.5038 | 4.1825 | 397.3248 | 1.8378 | 0.065239 | 264.2594 | 0 | 0 | 3.461 | 5.2451e-07 | 1.6453e-05 | 0.33954 | 61.8911 | 7.6353 | 0 | 98.5038 | 4.5515 | 490.1297 | 3.7229 | 0.075661 | 149.6067 | 0 | 0 | 95.1948 | 0 | 0 | 0.0037418 | 52.542 | 5.8 | 0 | 98.5038 | 5.3078 | 603.8236 | 4.7542 | 0.11077 | 154.7397 | 8.3608e-12 | 8.5606e-12 | 92.249 | 1.1433e-10 | 2.7343e-12 | 0.0040783 | 65.0496 | 7.0625 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 149.6067 | 0 | 0 | 95.1948 | 0 | 0 | 0.0037418 | 0 | 0 | 0 | 19.9766 | 2.3545 | 269.3148 | 2.1328 | 0.050853 | 157.4312 | 1.3631e-11 | 1.3957e-11 | 90.5136 | 1.864e-10 | 4.458e-12 | 0.0041684 | 29.071 | 3.1495 | 0 | 0.91393 | 186.4298 | 21324.8352 | 168.8754 | 4.0266 | 157.4312 | 1.3631e-11 | 1.3957e-11 | 90.5136 | 1.864e-10 | 4.458e-12 | 0.0041684 | 2301.8934 | 249.3834 | 0 | 0.023434
7 | 7 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.2685 | 403.4938 | 1.1867 | 0.022803 | 251.2505 | 0 | 0 | 0 | 2.0733e-05 | 0.0023735 | 0.39705 | 63.8377 | 8.3949 | 0 | 98.5038 | 4.2415 | 414.6952 | 1.1595 | 0.021556 | 236.97 | 0 | 0 | 12.5263 | 4.9164e-07 | 2.8857e-05 | 0.33302 | 62.8332 | 8.2423 | 0 | 98.5038 | 4.7903 | 542.6947 | 2.7899 | 0.034555 | 75.1863 | 0 | 0 | 147.5897 | 0 | 0 | 0.0032292 | 50.6225 | 5.8335 | 0 | 98.5038 | 5.4808 | 641.1569 | 3.7124 | 0.050999 | 106.2025 | 9.8173e-14 | 1.0052e-13 | 125.1673 | 1.3424e-12 | 3.2107e-14 | 0.0037122 | 64.95 | 7.559 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 75.1863 | 0 | 0 | 147.5897 | 0 | 0 | 0.0032292 | 0 | 0 | 0 | 19.9766 | 2.4273 | 284.7346 | 1.6691 | 0.023282 | 114.287 | 1.6006e-13 | 1.6388e-13 | 119.4229 | 2.1887e-12 | 5.2346e-14 | 0.0038364 | 29.1299 | 3.392 | 0 | 0.91393 | 192.198 | 22545.8026 | 132.1644 | 1.8435 | 114.287 | 1.6006e-13 | 1.6388e-13 | 119.4229 | 2.1887e-12 | 5.2346e-14 | 0.0038364 | 2306.5565 | 268.5845 | 0 | 0.023434
8 | 8 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.8145 | 480.8396 | 1.9139 | 0.027824 | 179.534 | 0 | 0 | 0 | 1.7371e-05 | 0.0020996 | 0.33918 | 59.8689 | 8.0734 | 0 | 98.5038 | 4.8522 | 474.2138 | 1.7735 | 0.025889 | 187.5333 | 0 | 0 | 0 | 3.6093e-07 | 2.8002e-06 | 0.2768 | 60.3199 | 8.209 | 0 | 98.5038 | 4.8045 | 561.3351 | 2.6832 | 0.030626 | 0 | 0 | 0 | 144.9607 | 0 | 0 | 0.0016318 | 51.4571 | 6.4136 | 0 | 98.5038 | 6.0849 | 749.345 | 5.456 | 0.073237 | 1.1948 | 1.1528e-15 | 1.1803e-15 | 193.7089 | 1.5763e-14 | 3.77e-16 | 0.0016995 | 59.0481 | 6.8997 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144.9607 | 0 | 0 | 0.0016318 | 0 | 0 | 0 | 19.9766 | 2.7279 | 336.8591 | 2.5273 | 0.034187 | 1.9472 | 1.8794e-15 | 1.9243e-15 | 202.8541 | 2.5699e-14 | 6.1464e-16 | 0.0017474 | 26.1843 | 3.0361 | 0 | 0.91393 | 216.0011 | 26673.1126 | 200.1139 | 2.707 | 1.9472 | 1.8794e-15 | 1.9243e-15 | 202.8541 | 2.5699e-14 | 6.1464e-16 | 0.0017474 | 2073.3217 | 240.402 | 0 | 0.023434
9 | 9 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.9347 | 490.2723 | 1.5945 | 0.020609 | 172.2843 | 0 | 0 | 0 | 1.7039e-05 | 0.0020256 | 0.33097 | 61.4286 | 8.8001 | 0 | 98.5038 | 4.9184 | 494.3649 | 1.5492 | 0.018733 | 163.4969 | 0 | 0 | 7.4365 | 3.3975e-07 | 1.0138e-05 | 0.26713 | 61.0052 | 8.7632 | 0 | 98.5038 | 6.1451 | 677.1812 | 6.0607 | 0.086541 | 0 | 0 | 0 | 201.8613 | 0 | 0 | 0.00076097 | 44.3422 | 5.4085 | 0 | 98.5038 | 6.829 | 811.3652 | 6.4858 | 0.085902 | 5.5944 | 0 | 0 | 186.1424 | 1.8509e-16 | 0 | 0.0010233 | 56.8962 | 6.9819 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 201.8613 | 0 | 0 | 0.00076097 | 0 | 0 | 0 | 19.9766 | 3.0042 | 359.699 | 2.8088 | 0.036657 | 8.8607 | 0 | 0 | 178.6513 | 3.0176e-16 | 0 | 0.0011273 | 25.6209 | 3.1521 | 0 | 0.91393 | 237.8747 | 28481.6207 | 222.4068 | 2.9026 | 8.8607 | 0 | 0 | 178.6513 | 3.0176e-16 | 0 | 0.0011273 | 2028.7083 | 249.5893 | 0 | 0.023434
10 | 10 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 5.579 | 535.1729 | 2.4276 | 0.035185 | 166.8534 | 0 | 0 | 0 | 1.56e-05 | 0.0017542 | 0.29909 | 60.0787 | 8.9688 | 0 | 98.5038 | 5.5456 | 537.077 | 2.4336 | 0.034032 | 163.0944 | 0 | 0 | 2.904 | 2.8655e-07 | 1.7826e-05 | 0.23543 | 59.8342 | 8.9675 | 0 | 98.5038 | 6.2536 | 658.4969 | 6.1173 | 0.090652 | 0 | 0 | 0 | 156.6673 | 0 | 0 | 0.00060853 | 48.1938 | 6.5827 | 0 | 98.5038 | 7.3431 | 823.9727 | 7.3702 | 0.10409 | 0.063816 | 0 | 0 | 172.1816 | 0 | 0 | 0.00071582 | 58.7594 | 7.8597 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156.6673 | 0 | 0 | 0.00060853 | 0 | 0 | 0 | 19.9766 | 3.2589 | 368.2093 | 3.2694 | 0.045805 | 0.10404 | 0 | 0 | 175.2828 | 0 | 0 | 0.00075281 | 26.2189 | 3.4977 | 0 | 0.91393 | 258.0477 | 29155.4831 | 258.8734 | 3.6269 | 0.10404 | 0 | 0 | 175.2828 | 0 | 0 | 0.00075281 | 2076.0612 | 276.958 | 0 | 0.023434
11 | 11 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 5.8302 | 514.4413 | 2.0498 | 0.030027 | 165.6557 | 0 | 0 | 0 | 1.6236e-05 | 0.0018895 | 0.30598 | 64.0711 | 10.1594 | 0 | 98.5038 | 5.7394 | 519.2665 | 2.0817 | 0.029715 | 161.0542 | 0 | 0 | 3.7554 | 3.0838e-07 | 1.3559e-05 | 0.24182 | 63.5889 | 10.1115 | 0 | 98.5038 | 5.9615 | 605.2195 | 3.8238 | 0.048365 | 0 | 0 | 0 | 71.0553 | 0 | 0 | 0.00077377 | 54.8545 | 8.3131 | 0 | 98.5038 | 7.3082 | 753.2159 | 4.9328 | 0.062866 | 0.00074933 | 0 | 0 | 74.3744 | 0 | 0 | 0.00078939 | 67.409 | 10.0846 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71.0553 | 0 | 0 | 0.00077377 | 0 | 0 | 0 | 19.9766 | 3.262 | 336.7825 | 2.2211 | 0.028375 | 0.0012217 | 0 | 0 | 76.1978 | 0 | 0 | 0.00079373 | 30.0687 | 4.489 | 0 | 0.91393 | 258.2877 | 26667.0497 | 175.8684 | 2.2468 | 0.0012217 | 0 | 0 | 76.1978 | 0 | 0 | 0.00079373 | 2380.896 | 355.4435 | 0 | 0.023434
12 | 12 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 5.6855 | 497.9013 | 1.5467 | 0.019518 | 178.103 | 0 | 0 | 0 | 1.6784e-05 | 0.0019066 | 0.31836 | 67.7068 | 11.2711 | 0 | 98.5038 | 5.5906 | 502.1048 | 1.5554 | 0.019141 | 171.9373 | 0 | 0 | 3.9473 | 3.2969e-07 | 1.7586e-05 | 0.2543 | 67.276 | 11.2333 | 0 | 98.5038 | 5.7694 | 596.2707 | 2.903 | 0.029417 | 52.1246 | 0 | 0 | 87.577 | 0 | 0 | 0.00095575 | 57.8821 | 9.3179 | 0 | 98.5038 | 7.0141 | 744.6188 | 3.849 | 0.04076 | 49.0334 | 0 | 0 | 86.5827 | 0 | 0 | 0.00095282 | 70.9665 | 11.2927 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 52.1246 | 0 | 0 | 87.577 | 0 | 0 | 0.00095575 | 0 | 0 | 0 | 19.9766 | 3.1272 | 332.8695 | 1.7345 | 0.018492 | 47.5073 | 0 | 0 | 85.5091 | 0 | 0 | 0.00095142 | 31.6645 | 5.0301 | 0 | 0.91393 | 247.6159 | 26357.2126 | 137.3435 | 1.4642 | 47.5073 | 0 | 0 | 85.5091 | 0 | 0 | 0.00095142 | 2507.2546 | 398.2907 | 0 | 0.023434
13 | 13 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 5.4588 | 489.3858 | 1.1687 | 0.011601 | 193.5639 | 0 | 0 | 0 | 1.7084e-05 | 0.001973 | 0.32532 | 70.6731 | 12.2523 | 0 | 98.5038 | 5.3846 | 493.0251 | 1.1683 | 0.01131 | 188.655 | 0 | 0 | 3.975 | 3.4179e-07 | 1.4693e-05 | 0.26135 | 70.2889 | 12.2239 | 0 | 98.5038 | 5.6734 | 600.4128 | 2.3865 | 0.019206 | 47.5195 | 0 | 0 | 105.9867 | 0 | 0 | 0.0010212 | 59.8266 | 10.1047 | 0 | 98.5038 | 6.7386 | 744.9261 | 3.0725 | 0.025525 | 45.4729 | 0 | 0 | 104.1244 | 0 | 0 | 0.0010728 | 73.7791 | 12.3495 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 47.5195 | 0 | 0 | 105.9867 | 0 | 0 | 0.0010212 | 0 | 0 | 0 | 19.9766 | 2.9967 | 332.5389 | 1.3768 | 0.011495 | 46.3343 | 0 | 0 | 102.3068 | 0 | 0 | 0.0010886 | 32.9598 | 5.51 | 0 | 0.91393 | 237.2878 | 26331.0345 | 109.0169 | 0.91017 | 46.3343 | 0 | 0 | 102.3068 | 0 | 0 | 0.0010886 | 2609.8196 | 436.2905 | 0 | 0.023434
14 | 14 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 5.3507 | 485.2948 | 0.92581 | 0.0071987 | 202.7097 | 0 | 0 | 0 | 1.7234e-05 | 0.0020637 | 0.32784 | 73.2638 | 13.1608 | 0 | 98.5038 | 5.2838 | 488.7575 | 0.92912 | 0.0070436 | 198.1249 | 0 | 0 | 3.6155 | 3.4785e-07 | 5.5905e-06 | 0.26389 | 72.8947 | 13.1354 | 0 | 98.5038 | 5.5971 | 591.47 | 1.8888 | 0.012028 | 63.0847 | 0 | 0 | 102.6032 | 0 | 0 | 0.0011014 | 62.8247 | 11.0987 | 0 | 98.5038 | 6.6558 | 734.9381 | 2.4119 | 0.015722 | 61.2145 | 0 | 0 | 103.361 | 0 | 0 | 0.0011687 | 77.4142 | 13.5667 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 63.0847 | 0 | 0 | 102.6032 | 0 | 0 | 0.0011014 | 0 | 0 | 0 | 19.9766 | 2.96 | 328.2292 | 1.0806 | 0.0070742 | 61.7772 | 0 | 0 | 102.7021 | 0 | 0 | 0.0011884 | 34.5719 | 6.0515 | 0 | 0.91393 | 234.3747 | 25989.7852 | 85.565 | 0.56015 | 61.7772 | 0 | 0 | 102.7021 | 0 | 0 | 0.0011884 | 2737.4676 | 479.1718 | 0 | 0.023434
15 | 15 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 5.3531 | 470.5457 | 0.56281 | 0.0034605 | 221.7542 | 0 | 0 | 0 | 1.7784e-05 | 0.0021068 | 0.33627 | 76.7103 | 14.2311 | 0 | 98.5038 | 5.3865 | 466.1871 | 0.54534 | 0.0034258 | 227.4375 | 0 | 0 | 0 | 3.7637e-07 | 6.0677e-06 | 0.27322 | 76.9802 | 14.332 | 0 | 98.5038 | 5.354 | 532.0372 | 0.62893 | 0.0026056 | 143.9321 | 0 | 0 | 47.1639 | 0 | 0 | 0.0013946 | 69.9298 | 12.9073 | 0 | 98.5038 | 6.5707 | 690.305 | 1.1147 | 0.0050381 | 114.7246 | 0 | 0 | 68.9477 | 0 | 0 | 0.0014205 | 83.8594 | 15.34 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 143.9321 | 0 | 0 | 47.1639 | 0 | 0 | 0.0013946 | 0 | 0 | 0 | 19.9766 | 2.934 | 309.6036 | 0.51891 | 0.0023876 | 109.5683 | 0 | 0 | 72.6806 | 0 | 0 | 0.0014279 | 37.3446 | 6.8226 | 0 | 0.91393 | 232.3215 | 24514.9748 | 41.0883 | 0.18905 | 109.5683 | 0 | 0 | 72.6806 | 0 | 0 | 0.0014279 | 2957.0138 | 540.2256 | 0 | 0.023434
16 | 16 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 5.1777 | 439.2702 | 0.26833 | 0.0010454 | 253.8654 | 0 | 0 | 0 | 1.9077e-05 | 0.0022112 | 0.36174 | 81.4915 | 15.5475 | 0 | 98.5038 | 5.1034 | 442.4206 | 0.27662 | 0.0010362 | 249.8928 | 0 | 0 | 3.7387 | 4.2535e-07 | 1.9108e-05 | 0.298 | 81.1492 | 15.5273 | 0 | 98.5038 | 5.5493 | 556.6927 | 0.65795 | 0.0014903 | 109.9177 | 0 | 0 | 91.525 | 0 | 0 | 0.0017181 | 70.1568 | 13.3444 | 0 | 98.5038 | 6.4852 | 677.5277 | 0.74579 | 0.0019127 | 122.2155 | 0 | 0 | 79.3734 | 0 | 0 | 0.0019093 | 87.6865 | 16.5887 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 109.9177 | 0 | 0 | 91.525 | 0 | 0 | 0.0017181 | 0 | 0 | 0 | 19.9766 | 2.877 | 301.4456 | 0.33028 | 0.00086955 | 128.1639 | 0 | 0 | 74.1579 | 0 | 0 | 0.0019608 | 39.2549 | 7.4205 | 0 | 0.91393 | 227.8062 | 23869.0138 | 26.1524 | 0.068853 | 128.1639 | 0 | 0 | 74.1579 | 0 | 0 | 0.0019608 | 3108.276 | 587.5659 | 0 | 0.023434
17 | 17 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 5.1785 | 434.7801 | 0.22871 | 0.00054985 | 254.9577 | 0 | 0 | 0 | 1.9283e-05 | 0.0022199 | 0.36458 | 84.0723 | 16.446 | 0 | 98.5038 | 5.0987 | 437.8008 | 0.23793 | 0.00055065 | 251.3885 | 0 | 0 | 2.6687 | 4.3457e-07 | 2.0873e-05 | 0.30089 | 83.7411 | 16.4282 | 0 | 98.5038 | 5.3147 | 521.0631 | 0.48025 | 0.00082952 | 148.8604 | 0 | 0 | 78.7937 | 0 | 0 | 0.0022603 | 75.2906 | 14.7553 | 0 | 98.5038 | 6.3838 | 648.5925 | 0.58388 | 0.001076 | 147.7814 | 0 | 0 | 80.381 | 0 | 0 | 0.0024202 | 92.815 | 18.0933 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 148.8604 | 0 | 0 | 78.7937 | 0 | 0 | 0.0022603 | 0 | 0 | 0 | 19.9766 | 2.8423 | 289.8934 | 0.26187 | 0.00048944 | 147.7644 | 0 | 0 | 80.365 | 0 | 0 | 0.0024467 | 41.4344 | 8.0705 | 0 | 0.91393 | 225.0618 | 22954.289 | 20.7352 | 0.038754 | 147.7644 | 0 | 0 | 80.365 | 0 | 0 | 0.0024467 | 3280.8533 | 639.0382 | 0 | 0.023434
18 | 18 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 5.145 | 405.9123 | 0.17908 | 0.00034193 | 280.9915 | 0 | 0 | 0 | 2.0691e-05 | 0.0024278 | 0.38445 | 88.6288 | 17.7183 | 0 | 98.5038 | 5.0229 | 410.0575 | 0.18643 | 0.00034283 | 276.3616 | 0 | 0 | 2.265 | 4.9787e-07 | 1.8164e-05 | 0.32076 | 88.2066 | 17.6823 | 0 | 98.5038 | 4.9656 | 454.8277 | 0.29469 | 0.00043843 | 227.6881 | 0 | 0 | 22.5771 | 0 | 0 | 0.0036255 | 82.9085 | 16.6573 | 0 | 98.5038 | 6.3275 | 574.1351 | 0.39672 | 0.00062843 | 221.0861 | 0 | 0 | 26.6507 | 0 | 0 | 0.0034382 | 101.6418 | 20.3302 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 227.6881 | 0 | 0 | 22.5771 | 0 | 0 | 0.0036255 | 0 | 0 | 0 | 19.9766 | 2.833 | 257.4859 | 0.1805 | 0.00028847 | 217.4893 | 0 | 0 | 29.1229 | 0 | 0 | 0.0033647 | 45.3085 | 9.0562 | 0 | 0.91393 | 224.3217 | 20388.2023 | 14.292 | 0.022841 | 217.4893 | 0 | 0 | 29.1229 | 0 | 0 | 0.0033647 | 3587.6073 | 717.0856 | 0 | 0.023434
19 | 19 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.9476 | 361.8883 | 0.10785 | 0.00017051 | 318.4821 | 0 | 0 | 0 | 2.3308e-05 | 0.0027957 | 0.42685 | 94.4084 | 19.2088 | 0 | 98.5038 | 4.7848 | 366.039 | 0.11309 | 0.0001709 | 314.1112 | 0 | 0 | 0.56246 | 6.2901e-07 | 9.6753e-06 | 0.36388 | 93.9866 | 19.1723 | 0 | 98.5038 | 4.4382 | 394.5639 | 0.15368 | 0.00017718 | 291.8685 | 0 | 0 | 1.4522 | 0 | 0 | 0.0068988 | 90.025 | 18.455 | 0 | 98.5038 | 5.9128 | 501.9568 | 0.21414 | 0.00027339 | 284.2745 | 0 | 0 | 2.1615 | 0 | 0 | 0.006077 | 110.2652 | 22.5215 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 291.8685 | 0 | 0 | 1.4522 | 0 | 0 | 0.0068988 | 0 | 0 | 0 | 19.9766 | 2.6626 | 225.353 | 0.09799 | 0.00012665 | 280.6142 | 0 | 0 | 3.0727 | 0 | 0 | 0.0058194 | 49.1523 | 10.0336 | 0 | 0.91393 | 210.831 | 17843.8623 | 7.759 | 0.010029 | 280.6142 | 0 | 0 | 3.0727 | 0 | 0 | 0.0058194 | 3891.9707 | 794.4785 | 0 | 0.023434
20 | 20 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 4.3958 | 324.794 | 0.063487 | 7.3672e-05 | 342.185 | 0 | 0 | 0 | 2.6216e-05 | 0.0030867 | 0.47881 | 99.6085 | 20.5715 | 0 | 98.5038 | 4.2614 | 328.2625 | 0.065141 | 7.2742e-05 | 338.6591 | 0 | 0 | 2.4571 | 7.9318e-07 | 3.6634e-05 | 0.41732 | 99.2433 | 20.5448 | 0 | 98.5038 | 3.9489 | 372.3442 | 0.10362 | 8.3128e-05 | 299.8048 | 0 | 0 | 19.9593 | 0 | 0 | 0.011135 | 94.0221 | 19.6282 | 0 | 98.5038 | 5.0508 | 468.7082 | 0.14174 | 0.00012605 | 297.9835 | 0 | 0 | 15.0317 | 0 | 0 | 0.010224 | 115.6936 | 24.0717 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 299.8048 | 0 | 0 | 19.9593 | 0 | 0 | 0.011135 | 0 | 0 | 0 | 19.9766 | 2.2667 | 209.8705 | 0.064301 | 5.8e-05 | 297.433 | 0 | 0 | 13.3824 | 0 | 0 | 0.0099287 | 51.6293 | 10.7366 | 0 | 0.91393 | 179.4784 | 16617.9296 | 5.0915 | 0.0045926 | 297.433 | 0 | 0 | 13.3824 | 0 | 0 | 0.0099287 | 4088.1046 | 850.142 | 0 | 0.023434
21 | 21 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 3.871 | 306.4935 | 0.037344 | 2.8409e-05 | 340.1869 | 0 | 0 | 0 | 0.00098915 | 0.47097 | 0.5167 | 102.7923 | 21.6372 | 0 | 98.5038 | 3.7788 | 309.0446 | 0.038295 | 2.8128e-05 | 339.6432 | 0 | 0 | 3.1257 | 3.1836e-05 | 0.0055984 | 0.45655 | 102.9657 | 21.6243 | 0 | 98.5038 | 3.8058 | 373.4316 | 0.072247 | 3.2859e-05 | 274.7276 | 0 | 0 | 54.0856 | 0 | 0 | 0.014599 | 96.103 | 20.418 | 0 | 98.5038 | 4.6101 | 462.9071 | 0.090961 | 4.7793e-05 | 279.1032 | 0 | 0 | 49.1554 | 0 | 0 | 0.01466 | 118.8644 | 25.1685 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 274.7276 | 0 | 0 | 54.0856 | 0 | 0 | 0.014599 | 0 | 0 | 0 | 19.9766 | 2.0527 | 206.6603 | 0.040923 | 2.2014e-05 | 281.2919 | 0 | 0 | 46.8662 | 0 | 0 | 0.014612 | 53.0969 | 11.2368 | 0 | 0.91393 | 162.5335 | 16363.7384 | 3.2403 | 0.0017431 | 281.2919 | 0 | 0 | 46.8662 | 0 | 0 | 0.014612 | 4204.3103 | 889.7463 | 0 | 0.023434
22 | 22 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 3.6136 | 296.2407 | 0.026576 | 1.2514e-05 | 318.8202 | 0 | 0 | 0 | 0.0099161 | 3.609 | 0.6372 | 102.6274 | 22.4841 | 0 | 98.5038 | 3.6331 | 293.6548 | 0.02555 | 1.2246e-05 | 323.3245 | 0 | 0 | 0 | 0.0096475 | 3.5303 | 0.58681 | 102.8333 | 22.5451 | 0 | 98.5038 | 3.4842 | 332.598 | 0.035721 | 1.2669e-05 | 304.53 | 0 | 0 | 28.3401 | 0 | 0 | 0.019376 | 101.592 | 21.8817 | 0 | 98.5038 | 4.2984 | 431.8676 | 0.058763 | 2.1569e-05 | 290.0698 | 0 | 0 | 40.8164 | 0 | 0 | 0.019219 | 124.0782 | 26.6681 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 304.53 | 0 | 0 | 28.3401 | 0 | 0 | 0.019376 | 0 | 0 | 0 | 19.9766 | 1.921 | 193.7714 | 0.027042 | 1.0012e-05 | 287.8621 | 0 | 0 | 42.9346 | 0 | 0 | 0.019146 | 55.3469 | 11.8911 | 0 | 0.91393 | 152.1065 | 15343.1724 | 2.1412 | 0.00079279 | 287.8621 | 0 | 0 | 42.9346 | 0 | 0 | 0.019146 | 4382.4692 | 941.5562 | 0 | 0.023434
23 | 23 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 3.4584 | 271.4176 | 0.01492 | 5.0073e-06 | 322.0235 | 0 | 0 | 0 | 0.013242 | 4.5857 | 1.4223 | 105.8052 | 22.8942 | 0 | 98.5038 | 3.3615 | 274.7327 | 0.017014 | 5.124e-06 | 318.7819 | 0 | 0 | 2.5766 | 0.013181 | 4.568 | 1.4067 | 105.4687 | 22.8251 | 0 | 98.5038 | 3.4841 | 320.2093 | 0.030315 | 7.0877e-06 | 298.145 | 0 | 0 | 33.6715 | 4.4936e-09 | 3.5549e-07 | 0.11732 | 104.7455 | 22.7846 | 0 | 98.5038 | 4.4159 | 396.4439 | 0.037581 | 9.7851e-06 | 303.3068 | 0 | 0 | 29.5103 | 1.5147e-08 | 1.9867e-06 | 0.086305 | 129.633 | 28.1581 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 298.145 | 0 | 0 | 33.6715 | 4.4936e-09 | 3.5549e-07 | 0.11732 | 0 | 0 | 0 | 19.9766 | 1.9706 | 177.1955 | 0.016915 | 4.4646e-06 | 304.4313 | 0 | 0 | 28.8115 | 2.0731e-08 | 2.7747e-06 | 0.079937 | 57.8903 | 12.571 | 0 | 0.91393 | 156.038 | 14030.6644 | 1.3394 | 0.00035352 | 304.4313 | 0 | 0 | 28.8115 | 2.0731e-08 | 2.7747e-06 | 0.079937 | 4583.8583 | 995.3921 | 0 | 0.023434
24 | 24 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 3.1627 | 266.6634 | 0.016289 | 4.0925e-06 | 304.0293 | 0 | 0 | 0 | 0.01446 | 5.1992 | 1.8811 | 107.5944 | 23.2421 | 0 | 98.5038 | 3.0886 | 269.232 | 0.018139 | 4.161e-06 | 301.329 | 0 | 0 | 3.2542 | 0.014465 | 5.211 | 1.8678 | 107.2885 | 23.1864 | 0 | 98.5038 | 3.0898 | 341.8481 | 0.042644 | 1.0002e-05 | 246.0144 | 0 | 0 | 80.3025 | 7.2831e-16 | 2.7656e-16 | 0.48781 | 105.1046 | 22.8493 | 0 | 98.5038 | 3.679 | 417.7006 | 0.050599 | 1.1707e-05 | 254.974 | 0 | 0 | 72.7034 | 0.0001656 | 0.14147 | 0.58562 | 130.3179 | 28.1608 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 246.0144 | 0 | 0 | 80.3025 | 7.2831e-16 | 2.7656e-16 | 0.48781 | 0 | 0 | 0 | 19.9766 | 1.6392 | 185.9737 | 0.022377 | 5.1628e-06 | 258.9322 | 0 | 0 | 69.1551 | 0.00026555 | 0.22633 | 0.6028 | 58.2304 | 12.5772 | 0 | 0.91393 | 129.7972 | 14725.7372 | 1.7719 | 0.0004088 | 258.9322 | 0 | 0 | 69.1551 | 0.00026555 | 0.22633 | 0.6028 | 4610.7906 | 995.8852 | 0 | 0.023434
25 | 25 | 0 | 0 | 0 | 0 | 30 | 5 | 5 | 5 | 0.07 | 23.99 | 7.93 | 0 | 0 | 0 | 20 | 2.9971 | 272.2166 | 0.018576 | 4.7538e-06 | 281.4403 | 0 | 0 | 0 | 0.014283 | 4.9571 | 2.1014 | 109.5146 | 23.6454 | 0 | 98.5038 | 2.9506 | 274.7083 | 0.020396 | 4.87e-06 | 278.8817 | 0 | 0 | 2.4831 | 0.014287 | 4.9623 | 2.0912 | 109.2241 | 23.589 | 0 | 98.5038 | 3.0716 | 330.4334 | 0.039795 | 9.5459e-06 | 240.7694 | 0 | 0 | 68.4326 | 1.2553e-09 | 4.7143e-07 | 0.74036 | 108.0679 | 23.5032 | 0 | 98.5038 | 3.7021 | 410.6544 | 0.050238 | 1.1997e-05 | 243.279 | 0 | 0 | 70.5797 | 1.917e-06 | 0.0016353 | 0.80587 | 133.638 | 28.919 | 0 | 78.5038 | 0 | 0 | 0 | 0 | 240.7694 | 0 | 0 | 68.4326 | 1.2553e-09 | 4.7143e-07 | 0.74036 | 0 | 0 | 0 | 19.9766 | 1.6484 | 183.5273 | 0.022498 | 5.3639e-06 | 244.203 | 0 | 0 | 71.1526 | 3.1251e-06 | 0.0026658 | 0.80993 | 59.6821 | 12.9096 | 0 | 0.91393 | 130.5244 | 14532.0282 | 1.7814 | 0.00042473 | 244.203 | 0 | 0 | 71.1526 | 3.1251e-06 | 0.0026658 | 0.80993 | 4725.7382 | 1022.2051 | 0 | 0.023434